Notes:

Fish Water Quality

Find the species diversity

Sustainable environment for large mouth bass in kilroy

# Abundance of fish

Size of fish

Measure nitrates, oxygen, temp, ph, and others

Testing if water is healthy

Lake and in lagoons

(lagoons only meant to cleanse water)

Water Sensor

- Monitors every hour (more after storms or rain)

- Margin of error +-0.5 ppm (seems too accurate)

- Report data to excel spreadsheet

- Locations at lagoon (inlet outlet), surface, middle, and bottom of lake (they have a map)

- 18 sensors in the lake total (6 different locations)

Want to look at:

- Dissolved oxygen

- Ph of water (acidity)

- How clear the water is (turbidity) (how many baby rocks are in water/dirt) shining light through water, is lake filling up

- Conductivity (whats in the water)

- Temp

- Salinity (salt levels)

- Phosphorus and nitrogen (algae blooms then no oxygen and kills fish)

- At lagoons (nitrogen more important than phosphorus)

- At lakes (phosphorus more important than nitrogen)

When it breaks who will fix it in the future (less than one month per fix, 15 year warranty)

Significance: to understand suitability of lake

Lagoons to see if water quality is actually improving

At beginning and end of lagoon

Dissolved oxygen

Acidity

Turbidity

Salinity/conductivity

temperature